SaxStat Design points

2025.6.19

The adaption of SaxStat prototype based on SweepStat:

- The ICL7660 is used to convert +5V to -5V to supply bipolar power instead of the battery solution in SweepStat. Then we can directly use the type-C power supply from the USB cable to the ESP32.

- A DAC chip MAX5443 is used to generate high-resolution signal for Vramp instead of the integrated DAC in ESP32.

- A python program is made for GUI instead of LabVIEW coding.

Planned further adaption to SaxStat PCB:

- A DAC chip AD5761 will be used to replace MAX5443 to generate bipolar signals directly. Then we will not use the level shifting in Op-amp A of LMC6484.

- Two TS5A3160 chips will be used to replace the jumpers JP1 and JP2. Then the current range can be adjusted from the GUI.

- An DAC chip ADS8685 will used to read the output signal from Op-amp C of LMC6484. Then the level shift is eliminated.